## 24-25
MVVNL Business plan for FY 2024-25 | [11 empty] | Details of works proposed under Business Plan (Part–2) for FY 2024–25 received from various distribution zones |  |  |  | NAGAR NIKAY 2024-25 SUMMARY |  |  |  |  | Other Miscelleanous Works
Sl. No. | Description of Work | Raibareli |  | Sitapur |  | Ayodhya |  | Devipatan |  | MVVNL |  | S. No. | Description of Work | Proposed Estimated Financial Cost (₹ in lakh) |  | Sl. No. | Detail of Works | Unit | MVVNL |  | 5515
|  | Description of Approved Works |  | Description of Approved Works |  | Description of Approved Works |  | Description of Approved Works |  | Description of Approved Works |  |  |  | Physical | Financial |  |  |  | No. of Works | Amount (Rs in Cr)
|  | No. | Amount (in Rs. Lakh) | No. | Amount (in Rs. Lakh) | No. | Amount (in Rs. Lakh) | No. | Amount (in Rs. Lakh) | No. | Amount (in Rs. Lakh) | 1 | New Works |  |  | 1 | New Work
1 | Construction Work of 33/11 KV Substation | 3 | 1921 | 4 | 1882 | 4 | 2880 | 2 | 1030 | 21 | 15477 | 1.1 | Construction of new 33/11 kV substation | 1 | 1126 | i | Construction of new 33/11 KV Sub-station | No. | 0 | 0
2 | Capacity enhancement work of 33/11 kV Substation | 21 | 1460 | 23 | 1684 | 39 | 3334 | 15 | 1105 | 148 | 11824 | 1.2 | Construction of 33 kV line | 4 | 2825 | ii | Construction work of 33 KV Lines and Bay | No. | 7 | 1243
3 | Construction Work of 33KV line | 3 | 657 | 7 | 1649 | 12 | 2289 | 2 | 457 | 51 | 19418 | 1.3 | Construction of 11 kV line | 18 | 1054 | iii | Capacity enhancement of 33/11 KV Sub-station | No. | 5 | 449
| Strengthening Work of 33 kV Line | 4 | 100 | 5 | 282 | 37 | 1475 | 25 | 213 | 90 | 3458 | 1.4 | Installation of 11/0.4 kV distribution transformers | 157 | 1812 | iv | Augmentation work of 33/11kV Sub-Station | No. | 2 | 465
4 | Work of installation of 11/0.4 kV distribution transformer. | 145 | 1053 | 152 | 1481 | 137 | 686 | 230 | 1126 | 1260 | 9413 |  | Sub Total | 180 | 6817 | V | Strengthing work of 33KV line | No. | 3 | 164
5 | Capacity enhancement of 11/0.4 kV distribution transformer. | 946 | 2716 | 1777 | 3750 | 786 | 1643 | 1051 | 2493 | 7470 | 17156 | 2 | System Augmentation Works |  |  | Vi | Construction and bifurcation of 11KV Lines | No. | 29 | 1065
6 | Construction Work of 11KV line | 29 | 435 | 29 | 741 | 81 | 786 | 98 | 328 | 340 | 4388 | 2.1 | Capacity augmentation of 33/11 kV substations | 44 | 4119 | Vi | Construction of 11/0.4 KV Sub-station | No. | 57 | 566
7 | Work of system strengthening (replacement of damaged wires, G.I. wire, and poles, guarding, etc.) Replacement of damaged VCBs. Strengthening of 33/11 kV substations, installation of protection systems on 100 kVA distribution transformers, etc | 364 | 2417 | 549 | 5194 | 309 | 2084 | 834 | 3032 | 2981 | 21407 | 2.2 | Capacity augmentation of 11/0.4 kV distribution transformers | 341 | 1162 | vii | Capacity enhancement of 11/0.4 KV Sub-station | No. | 62 | 1155
8 | Cost of fresh oil (110 K.L.) required for power transformers as per the requirement of the Stores Committee | - | - | - | - | - | - | - | - | 1 | 93 |  | Sub Total | 385 | 5281 | viii | Strengthing work of 11KV line |  | 22 | 330
9 | Cost of old and used transformer oil | - | - | - | - | - | - | - | - | 1 | 120 | 3 | Works related to RMU | 46 | 732 | ix | Construction and Replacement of LT Lines |  | 21 | 412
10 | For kitty (Fund) enhancement | - | - | - | - | - | - | - | - | 1 | 3335 | 4 | System Strengthening Works |  |  |  | Sub-Total |  | 208 | 5849
11 | Workshop | - | - | - | - | - | - | - | - | 8 | 8700 | 4.1 | 33 kV protection works | 642 | 907 | 2 | Protection Work |  |  | 0
12 | Store Committee | - | - | - | - | - | - | - | - | 6 | 454 | 4.2 | Strengthening works of 33 kV industrial line | 1 | 90 | i | Protection and System Strengthening (VCB, LA, CR, Control Wiring, Damage AB Cable, Isolator etc) | No. | 11 | 112
13 | Civil | - | - | - | - | - | - | - | - | 418 | 3413 | 4.3 | Strengthening works of 33 kV lines | 9 | 817 | ii | Protection work for Distribution Transformers of Capacity 10KVA, 16KVA, 25KVA & 63KVA |  | 3 | 115
14 | IT Equipment/Work | - | - | - | - | - | - | - | - | 1 | 1330 | 4.4 | Strengthening works of 11 kV lines | 72 | 1290 |  | Sub-Total |  | 14 | 200
Total |  | 1515 | 10759 | 2546 | 16663 | 1405 | 15178 | 2257 | 9785 | 12797 | 119986 |  | Sub Total | 724 | 3104 | 3 | Metering and store related Work |  |  | 0
Reserved funds at the DISCOM headquarters for emergency works | [9 empty] | 1 | 1000 | 5 | Works related to underground / LT / LT ABC and line safety | 22 | 290 | i | Supply of Single Phase and Three Phase meters for replacement of damaged meters (After guarantee period)/Meters for Double metering (33 KV / 11 KV / CT / PT unit)Purchase and installation of Modem | No. | - | 0
MVVNL Total | [9 empty] | 12798 | 120986 | 6 | Works related to Ayodhya Dham | 67 | 1473 | 4 | Civil Work |  |  | 0
1 | The work of installing 2 units of 20 MVA power transformers has been included. (Total estimated cost: ₹1.5 crore) | [11 empty] | Sub Total | 1424 | 17697 | i | Extension of 33/11 KV Sub-station Building (for Installation of switch gear) And other misc works like Repair of damaged Boundary walls, Workshop , Store Centers, & Office Buildings Etc., | LS. | 1 | 7
2 | The work of replacing 7967 units of ST poles with PCC poles has been included. (Estimated reduction in total cost: ₹9.67 crore) | [10 empty] | 7 | Works to be undertaken under Technical Division |  |  |  | Sub-Total |  | 1 | 7
3 | Additional funds of ₹8.17 crore for protect.ion-related works of 1000 units of distribution transformers of 100 kVA and above, and 5425 units of distribution transformers of less than 100 kVA | [10 empty] | 7.1 | Control room extension work | 1 | 5 |  | Total (In Cr.) |  | 223 | 6083
[12 empty] | 7.2 | Construction of water storage tank and deep boring work at Ahirwapur, Lucknow district | 1 | 6
[12 empty] | 7.3 | Installation of high mast lights at various electricity store centres | 1 | 179
Total ( Business Plan + Additional Business Plan + Naagr Nikay + Others) Rs. Cr. | [9 empty] | 1595.09 |  |  | Sub Total | 3 | 190
[12 empty] | 8 | Works to be undertaken under Stores Division
[12 empty] | 8.1 | Testing of post-dispatch samples (ERDA / CPRI / NTH) | 1 | 558
[12 empty] | 8.2 | Installation and maintenance of CCTV | 1 | 35
[12 empty] | 8.3 | Additional amount for deviation in material handling and handling of power transformers at Gonda, Ayodhya and Lakhimpur stores | 1 | 51
[12 empty] | 8.4 | Works related to steel purchase | 1 | 216
[12 empty] | 8.5 | Works related to steel cutting | 1 | 44
[12 empty] | Sub Total |  | 5 | 904
[12 empty] | 9 | Works under Workshop Division | 17 | 5104
[12 empty] | 10 | Required amount for financial closure of IPDS under MVVNL | 1 | 1598
[12 empty] | 11 | Required amount for establishment of Hi-Tech Lab and related works under MVVNL | 1 | 634
[12 empty] | 12 | Required amount for Body Worn Cameras under MVVNL | 1 | 35
[12 empty] | 13 | Removal of cable from sewer line of Nagar Nigam | 1 | 75
[12 empty] | 14 | Required amount for Zonal Quality Monitoring Agency for works under Business Plan, Additional BP, System Augmentation/Strengthening, Nagar Nikay/Nagar Nigam, PMGSY & Deposit Scheme (FY 2023–24 & 2024–25) | 1 | 493
[12 empty] | 15 | Required amount for DISCOM Quality Monitoring Agency for works under Business Plan, Additional BP, System Augmentation/Strengthening, Nagar Nikay/Nagar Nigam, PMGSY & Deposit Scheme (FY 2023–24 & 2024–25) | 1 | 195.25
[12 empty] | Total (MVVNL) |  | 1455 | 26925

## 25-26
Madhyanchal Vidyut Vitran Nigam Ltd.
BUSINESS PLAN 2025-26
Sl. No. | Detail of Works | Unit | B.P 2025-26 (Line losses < 30 %, highly critical)
|  |  | No. of Works | Amount (Rs in Lakh)
1 | New Work
i | Construction of new 33/11 KV Sub-station | No. | 6 | 7375.4
ii | Construction work of 33 KV New Lines and Bay | No. | 5 | 4081
iii | Construction of bay of 33 kv Line Under RDSS | No. | 4 | 280
iv | Strengthening work of 33 KV lines | No. | 101 | 7641
v | Capacity enhancement of 33/11 KV Sub-station | No. | 54 | 5651.65
vi | Construction and bifurcation of 11KV Lines | No. | 54 | 3124.19
vii | Strengthening work of 11 KV lines | No. | 276 | 2564.65
viii | Strengthening work of LT lines | No. | 278 | 1987.1
ix | Construction of New DT Sub-station | No. | 1046 | 11061.6
x | Capacity enhancement of existing DT Sub-station | No. | 2497 | 7978
xi | Line strengthening/Increasing DT Capacity and other Important works for ongoing summer season for Lucknow Central, Amausi, Janki Puram, Gomtinagar. | No. | 139 | 3053.2
A | Sub-Total | No. | 4460 | 54797.79
2 | Other Misc Work
a | Substation Protection |  | 1664 | 3328.2
i. | 33 KV VCB ( New 162 Nos. & Repair 86 Nos. Total Nos. 248) | No. | 248 | 861
ii. | 11 KV VCB ( New 328 Nos. & Repair 129 Nos. Total Nos. 457 ) | No. | 457 | 2092
iii | Earthing | No. | 959 | 375.2
b. | Line Protection |  | 889 | 1724.4
i | Earthing ( Earth Rod) | No. | 773 | 24.4
ii | RMU | No. | 116 | 1700
c. | DT Protection |  | 261546 | 10741.7
i | Earthing | No. | 16246 | 2119.8
ii | Tailless units | No. | 29758 | 3115.5
iii | Fuse Box | No. | 215542 | 5506.4
d. | Refurbishment of Capacitor Bank | No. | 0 | 0
e. | Replacement of New Transformer against Uneconomical Transformer (25 KVA 946 Nos and 63 KVA 200 Nos. ) | No. | 1146 | 1023.9
f. | IT work (New hardware- Desktop computers, Printer & UPS) | LS. | 0 | 0
B | Sub-Total | No. | 265245 | 16818.2
3 | Civil Work
i | Roof treatment works of various 33/11 KV Substation | No. | 20 | 159.62
ii. | Construction of new switchgear room at 33/11 KV SS Tulasipur rural Balrampur and Palhari old Barabanki due to flooding and Expansion of 08 nos 33/11 KV substations' switchgear room. | No. | 10 | 248.33
iii. | Construction of boundary wall in urban areas and fencing in rural areas for land security of substation | No. | 5 | 81.95
iv | Works to prevent waterlogging at substation | No. | 14 | 147.1
V | Remaining work of Hi-tech lab | No. | 1 | 86
vi | Construction of power analyzer room for electricity store centrs | No. | 18 | 30
C | Sub-Total | No. | 68 | 753
4 | Various works related to Workshops
i | Material and oil supply for repairing of different capacity Distribution Transformers in various workshops | LS. | - | 4467
ii | Expense on repairing works of Distribution Transformers through contracted vendors in various workshops | LS. | - | 1395
iii | Expense on preventive onsite maintenance of installed medium capacity (160 KVA & above) Distribution Transformers | LS. | - | 30
iv | Work of replacement of worn out/welded top covers of Distribution Transformer with bolted top covers | LS. | - | 30
v | Work of replacement of worn out radiators of Distribution Transformers with new radiators | LS. | - | 25
vi | Carriage and replacement of damaged Distribution Transformers in rural areas, PTW and capacity enhancement | LS. | - | 610
vii | Maintenance of machinery, equipments and calliberation of testing equipments installed in various workshops | LS. | - | 40
viii | Carriage of workshop materials, transformers, oil in various workshops and from stores to workshops | LS. | - | 106
ix | Reclamation of dirty transformer oil with contracted vendors in various workshops | LS. | - | 174
x | Insurance of workshops, TPTA inspection expenses, supply of various T&P machines, equipments in workshops and supply of various office items in various offices | LS. | - | 132
xi | Purchase or refilling of fire extinguishers in various workshops | LS. | - | 10
D | Sub-Total |  |  | 7019
5 | Metering Work
i | Supply of 33 KV CT / PT unit | No. | 110 | 94
ii | Supply of 11 KV CT / PT unit | No. | 1110 | 389
E | Sub-Total |  | 1220 | 483
6 | Third Party inspection
i | Testing of materials in CPRI/ERDA/NABL Aproved LAB & Liability of TPI | LS. | - | 1000
F | Sub-Total |  |  | 1000
7 | Store Related works
i | Material Carriage With Diesel expenses | LS. | - | 350
ii | Procurement of Steel item | LS. | - | 375.3
iii | Procurement of MS Round Bar for earthing | LS. | - | 72
iv | Steel Cutting/ Fabrication | LS. | - | 87
v | Stripping of Uneconomical Transformer | LS. | - | 55.5
vi | Carriage of Power Transformer | LS. | - | 80
vii | Lifting of Material By Crain/hydra | LS. | - | 25
viii | Testing of Post Dispatch Sample (ERDA/CPRI/NTH) | LS. | - | 1000
ix | CCTV Camera (AMC) | LS. | - | 7.5
x | Procurement of Fresh Transformer Oil (110 kl in Drums@Rs 97/ltr.) for PTs | LS. | - | 110
xi | Old & Used Transformer Oil (200 kl in Drums@Rs 57/Ltr.) from UPPTCL | LS. | - | 112
xii | Provision of Fire Fighting Equipments | LS. | - | 13.8
G | Sub-Total |  |  | 2288.1
8 | MD DISCRETION FUND | LS. | - | 1000
H | Sub-Total |  |  | 1000
I | Sub-Total of New Work (A) & Other MiSC Work (B) | No. | 269705 | 71615.99
J | Sub-Total of Other rest work (C to H) | No. | 1288 | 12543.1
| Total (I+J) | No. | 270993 | 84159.09
K1 | Cost of 5 MVA transformer aleardy available | Nos | 25 | -1265
K2 | Cost of difference of 5 MVA (against proposed 5-10 MVA) | Nos | 21 | 1260
| Total BP 2025-26 | Nos. | 270993 | 84154.09
Note: K1- Cost of 5 MVA transformer already available in Store is deducted from BP Amount.
NOTE: K2 - Cost of 5 MVA transformers deducted from estimate as return back, is added in BP amount as there will be procurement of new higher capacity (10 MVA) transformer.